Urban Bioretention Inspections and Maintenance Checklist

Site Name:	Owner Change since last inspection? Y N

Location:

Owner Name:

Address:	Phone Number:

Site Status:

Date: 	Time: 	Site conditions:

Urban Bioretention Type:	Stormwater Planters  	Green Street Swales/Planters   	Proprietary Planting Cells	

Inspection Frequency Key: A=annual (required); M=monthly (recommended); S=after major storms (recommended)

| Inspection Items | Inspection Frequency | Inspected? (Yes/No) | Maintenance Needed? (Yes/No) | Comments/Description |
| --- | --- | --- | --- | --- |
| Pre-Treatment Area (if present) |  |  |  |  |
| Area free of debris/Landscape waste? | A/M |  |  |  |
| Inlets and outlets unobstructed? | A/M |  |  |  |
| Standing water longer than 24 hours after a storm event? | A/S |  |  |  |
| Bare soil or erosion? | M/S |  |  |  |
| Inlet/ Outlet Structures |  |  |  |  |
| Inflow points (downspouts, curb cuts) provide stable conveyance into the facility? | A |  |  |  |
| Inlets provide stable conveyance into facility? | A |  |  |  |
| Evidence of erosion at/around inlet? | A |  |  |  |
| Excessive trash/debris? | A/M |  |  |  |
| Vegetation overgrown, hindering inflow? | A |  |  |  |
| Other | A |  |  |  |
| Bioretention Area |  |  |  |  |
| Vegetation overgrown? | A |  |  |  |
| Invasive species/weeds present? | A |  |  |  |
| Dead vegetation or exposed soil present? | A |  |  |  |
| Maintenance access to facility? | A |  |  |  |
| Plant composition according to approved plan? | A |  |  |  |

| Inspection Items | Inspection Frequency | Inspected? (Yes/No) | Maintenance Needed? (Yes/No) | Comments/Description |
| --- | --- | --- | --- | --- |
| Excessive trash/debris? | A/M |  |  |  |
| Evidence of erosion? | A |  |  |  |
| Evidence of standing water (Ponding, Noticeable Odors, Water Stains, Algae)? | A |  |  |  |
| Overflow structure free of blockage and operating properly? | A |  |  |  |
| If underdrain system, is it broken or clogged? | A |  |  |  |
| Other | A |  |  |  |
| Hazards |  |  |  |  |
| Have there been complaints from residents? | A/M |  |  |  |
| Public hazards noted? | A/M |  |  |  |
| Mosquito proliferation? |  |  |  |  |
| Is there encroachment on pervious area or easement by buildings or other structures? | A/S |  |  |  |

Inspector Comments:

Overall Condition of Facility:    Acceptable	 Unacceptable

## If any of the above Inspection Items are checked “Yes” for “Maintenance Needed,” list Maintenance actions and their completion dates below:

| Maintenance Action Needed | Due Date |
| --- | --- |

The next routine inspection is scheduled for approximately:

(date) Inspected by: (signature)  	 Inspected by: (printed)