Downspout Disconnection

Inspections and Maintenance Checklist

Site Name: 	Owner Change since last inspection? Y N

Location:

Owner Name:

Address: 	Phone Number:

Site Status:

Date: 	Time: 	Site conditions:

| Disconnection Type: | Soil Amendment  | Infiltration Trench  | Bioretention  |
| --- | --- | --- | --- |
|  | Rainwater Harvesting  | Stormwater Planter  | Simple Disconnection  |

Note: Disconnection Type should also be evaluated per the appropriate Checklist located in this Appendix. Inspection Frequency Key: A=annual; M=monthly; S=after major storms

| Inspection Items | Inspection Frequency | Inspected? (Yes/No) | Maintenance Needed? (Yes/No) | Comments/Description |
| --- | --- | --- | --- | --- |
| Pipes, Gutters, and Drains |  |  |  |  |
| Downspouts provide stable conveyance into facility? | A/S |  |  |  |
| Runoff enters pervious area as sheet flow? | A/S |  |  |  |
| Excessive trash/debris/sediment/oil/chemicals accumulation at inflow points? | A/S |  |  |  |
| Evidence of erosion at/around inflow points? | A/S |  |  |  |
| Disconnection Treatment |  |  |  | (describe type: concrete pipe, slotted weir, channel, etc.) |
| Downspouts or surface impervious area drains to the receiving pervious area? | A/S |  |  |  |
| Receiving treatment area retains dimensions as shown on plans and is in good condition? | A/S |  |  |  |
| Sediment accumulation? | A |  |  |  |
| Is erosion at simple disconnection, bioretention, filter paths, or planter present? | A |  |  |  |
| Evidence of standing water (Ponding, Noticeable Odors, Water Stains, Algae)? | A |  |  |  |
| Is vegetation in place? | A |  |  |  |
| Is plant composition consistent with | A |  |  |  |

| Inspection Items | Inspection Frequency | Inspected? (Yes/No) | Maintenance Needed? (Yes/No) | Comments/Description |
| --- | --- | --- | --- | --- |
| approved plans? |  |  |  |  |
| Are invasive species/weeds present? | A |  |  |  |
| Is dead vegetation or exposed soil present? | A |  |  |  |
| Other (describe) | A |  |  |  |
| Contributing Drainage Area-Rooftop |  |  |  |  |
| Treatment area retains dimensions as shown on plans and is in good condition? |  |  |  |  |
| Is there encroachment on pervious area or easement by buildings or other structures? | A/S |  |  |  |
| Hazards |  |  |  |  |
| Have there been complaints from residents? | A/M |  |  |  |
| Public hazards noted? | A/M |  |  |  |

Inspector Comments:

Overall Condition of Facility:    Acceptable	 Unacceptable

If any of the above Inspection Items are checked “Yes” for “Maintenance Needed,” list Maintenance actions and their completion dates below:

| Maintenance Action Needed | Due Date |
| --- | --- |

The next routine inspection is scheduled for approximately:

(date) Inspected by: (signature)  		 Inspected by: (printed)