Infiltration Trench Inspections and Maintenance Checklist

Site Name: 	Owner Change since last inspection? Y N

Location:

Owner Name:

Address 	Phone Number

Site Status:

Date: 	Time: 	Site conditions:

Inspection Frequency Key: A=annual; M=monthly; S=after major storms

| Inspection Items | Inspection Frequency | Inspected? (Yes/No) | Maintenance Needed? (Yes/No) | Comments/Description |
| --- | --- | --- | --- | --- |
| Debris Removal |  |  |  |  |
| Trench surface clear of debris? | M |  |  |  |
| Contributing area free of debris? | M |  |  |  |
| Inlets/Inflow pipes free of debris? | M |  |  |  |
| Overflow spillway clear of debris? | M |  |  |  |
| Vegetation |  |  |  |  |
| Mowing done when necessary? | M |  |  |  |
| Unauthorized or inappropriate plantings? | A |  |  |  |
| Fertilized per specification? | M |  |  |  |
| Evidence of erosion? | M |  |  |  |
| Contributing drainage area stabilized? | M |  |  |  |
| Trees growing in the trench? | A |  |  |  |
| Dewatering |  |  |  |  |
| Trench dewaters between storms? | M |  |  |  |
| Sediment traps, forebays, or pretreatment swales |  |  |  |  |
| Adequately trapping sediment? | A |  |  |  |
| Structural damage? | A |  |  |  |
| Greater than 50% of original storage volume remaining? | A |  |  |  |
| Sediment removal of trench |  |  |  |  |
| Any evidence of sedimentation in trench? | A |  |  |  |
| Are pea gravel/topsoil and top surface filter fabric functioning properly? | M |  |  |  |
| Does sediment accumulation currently require removal? | A |  |  |  |

| Inspection Items | Inspection Frequency | Inspected? (Yes/No) | Maintenance Needed? (Yes/No) | Comments/Description |
| --- | --- | --- | --- | --- |
| Inlets |  |  |  |  |
| Good condition (no need for repair)? | A |  |  |  |
| Evidence of erosion? | A |  |  |  |
| Outlets/overflow spillway |  |  |  |  |
| Good condition (no need for repair)? | A |  |  |  |
| Evidence of erosion? | A |  |  |  |
| Aggregate repairs |  |  |  |  |
| Surface of aggregate clean? | A |  |  |  |
| Top layer of stone in need of replacement? | A |  |  |  |
| Trench in need of rehabilitation? | A |  |  |  |
| Observation wells |  |  |  |  |
| Evidence of clogging/failure to percolate? (Should percolate within 3 days.) | M |  |  |  |
| Has drawdown rate been measured at observation well and is well capped? | A |  |  |  |
| Hazards |  |  |  |  |
| Have there been complaints from residents? | M |  |  |  |
| Public hazards noted? | M |  |  |  |

Inspector Comments:

Overall Condition of Facility:    Acceptable	 Unacceptable

If any of the above Inspection Items are checked “Yes” for “Maintenance Needed,” list Maintenance actions and their completion dates below:

| Maintenance Action Needed | Due Date |
| --- | --- |

The next routine inspection is scheduled for approximately:

(date) Inspected by: (signature)  	 Inspected by: (printed)