Permeable Pavement Inspection and Maintenance Checklist

Site Name: 	Owner Change since last inspection? Y N

Location:

Owner Name:

Address: 	Phone Number:

Site Status:

Date: 	Time: 	Site conditions:

*****Conduct maintenance inspection in the spring of each year.

Pavement Type:	Pervious Concrete/Asphalt D	Modular Pavers  D	Grass/Gravel Pavers D

Inspection Frequency Key: A=annual (required); M=monthly (recommended); S=after major storms (recommended)

| Inspection Items | Inspection Frequency | Inspected? (Yes/No) | Maintenance Needed? (Yes/No) | Comments/Description |
| --- | --- | --- | --- | --- |
| Pavement Area |  |  |  |  |
| Pavement area free of debris? | A/M |  |  |  |
| Staining or sediment? | A/M |  |  |  |
| Inlets and outlets unobstructed and sediment free? | A/M |  |  |  |
| All contributing drainage area free of erosion and sources of sediment? | A/M |  |  |  |
| Water standing after a storm event? | S |  |  |  |
| Any evidence of clogged pores that require vacuum-sweeping? | A/M |  |  |  |
| Has area been vacuum swept in the past 12 months? | A/M |  |  |  |
| Access to pervious pavement (egress and ingress routes) safe and efficient? | A/M |  |  |  |
| Has drawdown rate been measured at observation well and is well capped? | A |  |  |  |
| Structural integrity of the pavement intact? Look for deterioration such as: slumping, cracking, spalling, or broken pavers. | A/M |  |  |  |
| Grass Pavers |  |  |  |  |
| Adjacent area fully stabilized (no evidence | A |  |  |  |

| Inspection Items | Inspection Frequency | Inspected? (Yes/No) | Maintenance Needed? (Yes/No) | Comments/Description |
| --- | --- | --- | --- | --- |
| of eroding material into or from pervious pavement area)? |  |  |  |  |
| Any noticeable irrigation needs? | A/M |  |  |  |
| Fallen leaves/plant debris collecting in paving area? | A/M |  |  |  |
| Grass height over 4 inches? | A/M |  |  |  |
| Vegetation health affected by oil/grease from vehicles? | A |  |  |  |
| Other | A |  |  |  |
| Hazards |  |  |  |  |
| Obstructions or debris affecting overflows/emergency spillways? | A/M |  |  |  |
| Load-bearing capability of pavement intact? | A/M |  |  |  |

Inspector Comments:

Overall Condition of Facility: D Acceptable	D Unacceptable

# If any of the above Inspection Items are checked “Yes” for “Maintenance Needed,” list Maintenance actions and their completion dates below:

| Maintenance Action Needed | Due Date |
| --- | --- |

The next routine inspection is scheduled for approximately:

(date) Inspected by: (signature)  		 Inspected by: (printed)