Extended Detention Pond Inspections and Maintenance Checklist

Site Name: 	Owner Change since last inspection? Y N

Location:

Owner Name:

Address: 	Phone Number:

Site Status:

Date: 	Time: 	Site conditions:

Stormwater Pond Type:	Wet ED Pond  	Micropool ED Pond  	Multiple Pond System 

Inspection Frequency Key: A=annual; M=monthly; S=after major storms

| Inspection Items | Inspection Frequency | Inspected? (Yes/No) | Maintenance Needed? (Yes/No) | Comments/Description |
| --- | --- | --- | --- | --- |
| Contributing Drainage Area |  |  |  |  |
| Banks upstream and downstream free of sloughing , animal burrows, boggy areas, woody growth and gully erosion? | A/S |  |  |  |
| Excessive trash, debris, erosion or landscaping waste? | A/S |  |  |  |
| Embankment and Emergency Spillway |  |  |  |  |
| Vegetation healthy? | A/S |  |  |  |
| Erosion on embankment? | A/S |  |  |  |
| Animal burrows in embankment? | A/S |  |  |  |
| Cracking, sliding, bulging of dam? | A/S |  |  |  |
| Drains blocked or not functioning? | A/S |  |  |  |
| Leaks or seeps on embankment? | A/S |  |  |  |
| Slope protection failure functional? | A/S |  |  |  |
| Emergency spillway obstructed? | A/S |  |  |  |
| Erosion in/around emergency spillway? | A/S |  |  |  |
| Other (describe) | A/S |  |  |  |
| Riser and Principal Spillway |  |  |  | (describe type: concrete pipe, slotted weir, channel, etc.) |
| Low-flow orifice functional? | A/S |  |  |  |
| Debris Trash rack, reverse sloped pipe or flashboard riser? (Debris removal needed? Corrosion noted?) | A/S |  |  |  |
| Sediment buildup in riser? | A |  |  |  |
| Concrete/masonry condition? (Cracks or displacement? Spalling?) | A |  |  |  |
| Metal pipe in good condition? | A |  |  |  |
| Control valve operational? | A |  |  |  |

| Inspection Items | Inspection Frequency | Inspected? (Yes/No) | Maintenance Needed? (Yes/No) | Comments/Description |
| --- | --- | --- | --- | --- |
| Pond drain valve operational? | A |  |  |  |
| Outfall channels function, not eroding? | A |  |  |  |
| Other (describe) | A |  |  |  |
| Sediment Forebays |  |  |  |  |
| Sediment cleanout needed (over 50 percent full)? | A/S |  |  |  |
| Stormwater inlet free of material damage, erosion and undercutting? | A |  |  |  |
| Permanent Pool Areas (if applicable) |  |  |  |  |
| Undesirable vegetation growth? | M |  |  |  |
| Visible pollution? | M |  |  |  |
| Shoreline erosion? | M |  |  |  |
| Erosion at outfalls into pond? | M |  |  |  |
| Headwalls and endwalls in good condition? | M |  |  |  |
| Encroachment into pond or easement area by other activities? | M |  |  |  |
| Evidence of sediment accumulation? | A |  |  |  |
| Clogging at low-flow orifice? | Twice per year |  |  |  |
| Dry Pond Areas (if applicable) |  |  |  |  |
| Vegetation adequate? | M |  |  |  |
| Undesirable vegetation or woody plant growth? | M |  |  |  |
| Excessive sedimentation? | A |  |  |  |
| Outlet Structure |  |  |  |  |
| Outfall channel is free of erosion, undercutting, rip-rap displacement woody growth, etc? | A |  |  |  |
| Hazards |  |  |  |  |
| Have there been complaints from residents? | M |  |  |  |
| Public hazards noted? | M |  |  |  |
| Maintenance accesses free of hazards and fully operational? | M |  |  |  |

Inspector Comments:

Overall Condition of Facility:    Acceptable	 Unacceptable

# If any of the above Inspection Items are checked “Yes” for “Maintenance Needed,” list Maintenance actions and their completion dates below:

| Maintenance Action Needed | Due Date |
| --- | --- |

The next routine inspection is scheduled for approximately:

(date) Inspected by: (signature)  		 Inspected by: (printed)